## Acquisitions
FID | MID | Description | Phantom | # Channels | Read | Phase | Slice | n_slices | Slice loc (mm) | N | FOV(mm) | Thk(mm) | TR(ms) | TE(ms) | FA (deg) | Turbo factor
1793 | 431 | TSE Sag. T2 Mapping | NIST T2 Plane | 20 | y | z | x | 2 | 12, -12 | 128 | 250 | 6 | 4500 | 23 values: from 7 ms to 161 ms in 7 ms steps | 90/180 | 23